STARLAB

Data Cleaning Rules

Unit 4 | Appendix B | Week 17 | Required

Preserve raw data before editing.

Work from a copy.

Document every major cleaning decision.

Keep units visible.

Label conditions and trial numbers clearly.

Separate raw measurements from calculated values.

Flag questionable data rather than deleting it.

Exclude data only with a documented reason.

Back up files.

Make the data understandable to someone else.

# Allowed Cleaning vs. Data Alteration

Cleaning makes a copy easier to analyze; it must not manufacture a preferred result. Preserve raw data and document every consequential change.

| Decision | Allowed when | Not allowed |
| --- | --- | --- |
| Correct a transcription error | The original source clearly verifies the intended value. | Changing a value because it looks unlikely. |
| Standardize units | The conversion formula is shown and applied consistently. | Mixing units or hiding the conversion. |
| Resolve duplicates | Unique identifiers prove the row is duplicated. | Removing repeated legitimate trials. |
| Exclude a value | A pre-stated rule or documented equipment failure justifies exclusion. | Removing evidence because it weakens the claim. |
| Handle missing data | The value is marked missing and the reason is recorded. | Entering zero or an estimated value without disclosure. |